## Tx Temp
Sigfox standard frame reader
TX TEMP
Sigfox Frame | 0 | 1 | 2 | 1 | ce00
| Message Type | Transmitter Type | Firmware Version | Battery Status | Temperature Value
Frame Decoding |  |  | Sigfox Backend example
Message Type | Standard Message
Transmitter Type | Temperature
Firmware Version | 2
Battery Status | Battery OK
Temperature Value if positive (C°) | 20.6
Temperature Value if negative (C°) | -6533
ce00
00ce

## Tx Temp & Humidity
Sigfox standard frame reader
TX TEMP & HUM
Sigfox Frame | 0 | 2 | 1 | 1 | b200 | b101
| Message Type | Transmitter Type | Firmware Version | Battery Status | Temperature Value | Humidity Value
Frame Decoding |  |  | Sigfox Backend example
Message Type | Standard Message
Transmitter Type | Temperature & Humidity
Firmware Version | 1
Battery Status | Battery OK
Temperature Value if positive (C°) | 17.8
Temperature Value if negative (C°) | -1996.8
Humidity Value (%) | 43.3
[5 empty] | b200 | b101
[5 empty] | 00b2 | 01b1

## PT 100 Temperature
Sigfox standard frame reader
PT100
Sigfox Frame | 0 | 3 | 2 | 1 | d600
| Message Type | Transmitter Type | Firmware Version | Battery Status | Temperature Value
Frame Decoding |  |  | Sigfox Backend example
Message Type | Standard Message
Transmitter Type | PT 100 Temperature
Firmware Version | 2
Battery Status | Battery OK
Temperature Value if positive (C°) | 21.4
Temperature Value if negative (C°) | -6532.2
d600
00d6

## Pulses
Sigfox standard frame reader
TX PULSE
Sigfox Frame | 0 | 4 | 1 | 1 | 470000000 | 260f0000 | bb
| Message Type | Transmitter Type | Firmware Version | Battery Status | Pulse Value 1 | Pulse Value 2 | Status Byte
Frame Decoding |  |  | Sigfox Backend example
Message Type | Standard Message
Transmitter Type | Pulses
Firmware Version | 1
Battery Status | Battery OK
Pulse Value 1 | 71
Pulse Value 2 | 3878
Status Byte | 187
[5 empty] | 470000000 | 260f0000
[5 empty] | 00000047 | 00000f26

## Contact
Sigfox standard frame reader
TX CONTACT
Sigfox Frame | 0 | 5 | 2 | 1 | 01000000 | 02000000 | bb
| Message Type | Transmitter Type | Firmware Version | Battery Status | Pulse Value 1 | Pulse Value 2 | Status Byte
Frame Decoding |  |  | Sigfox Backend example
Message Type | Standard Message
Transmitter Type | Contact
Firmware Version | 2
Battery Status | Battery OK
Pulse Value 1 | 1
Pulse Value 2 | 2
Status Byte | 187
[5 empty] | 01000000 | 02000000
[5 empty] | 00000001 | 00000002

## Calculation methods
Message Type | The first digit of the sigfox frame correspond to the message type sent by the transmitter used. Translation: 0 = Standard Message ; 4 = Initializing Message ; 8 = Warning Message
Transmitter Type | The second digit of the sigfox frame correspond to the device type of transmitter that sent this frame up. Translation: 1 = Tx Temp; 2 = Tx Temp & Humidity; 3 = PT 100 Temperature; 4 = Pulses; 5 = Contact
Firmware Version | The third digit gives an indication of the firmware version used by the transmitter that sent this frame up. The figure is equivalent to the firmware version used
Battery Status | The fourth digit gives an indication of the battery level of the transmitter that sent this frame up. Translation: 0 = Low Battery; 1 = Battery OK
Temperature Value | It is necessary to invert the bytes order of the 4 characters sequence in hexadecimal to perform the calculation, then divide the result of the conversion by 10 to know the temperature value. Example: A101 -- Invert Bytes --> 01A1 -- Convert Hexadecimal to Decimal --> 417 - Divide by 10 --> 41.7 ° c
Negative Temperature Value | It is necessary to invert the bytes order of the 4 characters sequence in hexadecimal to perform the calculation. Then convert in decimal and subtract 65536. Then divide the result by 10 to know the negative value. Example: aeff -- Invert bytes--> ffae (hexa) -- Convert from hexadecimal to decimal --> 65454 (decimal) -- Subtract 65536--> -82 -- Divide by 10 --> -8,2°c
Humidity Value | It is necessary to invert the bytes order of the 4 charcters sequence in hexadecimal to perform the calculation, then divide the result of the conversion by 10 to know the humidity value. Example: b101 -- Invert bytes--> 01b1 -- Convert Hexadecimal to Decimal --> 433 -- Divide by 10 --> 43,3 %
Pulse Value | It is necessary to invert the bytes order of the 8 characters sequence in hexadecimal then convert in decimal to know the pulse value. Example: 4d3c2b1a -- Invert Bytes--> 1a2b3c4d -- Convert Hexadecimal to Decimal --> 439 041 101 Pulses
Status Byte | The Status Byte has two possible options (Closed / Open), it is necessary to convert the two characters in hexadecimal to know its status: 00 -- Convert Hexadecimal to Decimal --> 00 --> Closed BB -- Convert Hexadecimal to Decimal --> 187 --> Open