Oracle announced the end-of-life of Java SE 8 (Standard Edition). As of January 2019, free public updates for commercial users are no longer available. Customers accessing Niagara with the Java Applet/Web Start are impacted by this change. Those who have upgraded to full HTML5 versions for your browser front-end will not be affected. For customers who use the Java VM and Java Web Start for their legacy systems, Tridium has developed a suitable alternative, the Niagara Web Launcher. 
 
The Niagara Web Launcher application is now available for download. You can download Niagara Web Launcher using the following links:

- 64-bit systems: http://support.innon.com/Tridium_Niagara/Miscellaneous/Niagara_Web_Launcher/Download/NiagaraWebLauncher-64-bit.zip

- 32-bit (-x86) systems: http://support.innon.com/Tridium_Niagara/Miscellaneous/Niagara_Web_Launcher/Download/NiagaraWebLauncher-32-bit.zip

Niagara Web Launcher download links are also available from the Niagara station login page.
Niagara Web Launcher support is included in Niagara versions:

- 4.4U3 –Included in (4.4.94.14).

- 4.7U1 - Included in (4.7.110.32)

Subsequent releases of Niagara 4 will include Niagara Web Launcher support.
A patch for Niagara 3.8 U4 can be downloaded from here.  Copy web.jar module version 3.8.403.1 into the modules folder of your Niagara AX 3.8 U4 workbench or supervisor station.  This module may also be installed on JACE platforms.  To use Niagara Web Launcher, Web Start must be enabled in the Web Service of the station.
Documentation is available in the here. A short video on the Web Launcher is available here.